## LOT 1
Additional Tech Requirements_Lot 1 - EHC-AF3-WS-TAZ-018-01
Item | UNOPS minimum technical requirements | Bidder to complete | Bidder’s Offer specifications (Insert details of goods offered, including specifications, picture, and brand/model offered if applicable)
1 | HDPE Pipes – PN16, SDR11, PE100 (100 m rolls)
1.1 | Ø 110 mm | To be inserted by bidder
1.2 | Ø 90 mm | To be inserted by bidder
1.3 | Ø 63 mm | To be inserted by bidder
1.4 | Ø 50 mm | To be inserted by bidder
1.5 | Ø 32 mm | To be inserted by bidder
1.6 | Ø 25 mm | To be inserted by bidder
2 | Compression Fittings for HDPE Pipes according to Technical Specifications
2.1 | Coupling, Compression Fittings, PN16, according to the following dimensions:
2.1.1 | DN 110mm | To be inserted by bidder
2.1.2 | DN 90mm | To be inserted by bidder
2.1.3 | DN 63mm | To be inserted by bidder
2.1.4 | DN 50mm | To be inserted by bidder
2.1.5 | DN 32mm | To be inserted by bidder
2.1.6 | DN 25mm | To be inserted by bidder
2.2 | Reducing Coupling, Compression Fittings, PN16, according to the following dimensions:
2.2.1 | DN 110mm x DN 90mm | To be inserted by bidder
2.2.2 | DN 90mm x DN 63mm | To be inserted by bidder
2.2.3 | DN 63mm x DN 50mm | To be inserted by bidder
2.2.4 | DN 63mm x DN 32mm | To be inserted by bidder
2.2.5 | DN 50mm x DN 32mm | To be inserted by bidder
2.2.6 | DN 32mm x DN 25mm | To be inserted by bidder
2.3 | Equal Tee, Compression Fittings, PN16, according to the following dimensions:
2.3.1 | DN 110mm | To be inserted by bidder
2.3.2 | DN 90mm | To be inserted by bidder
2.3.3 | DN 63mm | To be inserted by bidder
2.3.4 | DN 50mm | To be inserted by bidder
2.3.5 | DN 32mm | To be inserted by bidder
2.3.6 | DN 25mm | To be inserted by bidder
2.4 | Reducing Tee, Compression Fittings, PN16, according to the following dimensions:
2.4.1 | DN 110mm x DN 90mm x DN 110mm | To be inserted by bidder
2.4.2 | DN 90mm x DN 63mm x DN 90mm | To be inserted by bidder
2.4.3 | DN 63mm x DN 50mm x DN 63mm | To be inserted by bidder
2.4.4 | DN 50mm x DN 32mm x DN 50mm | To be inserted by bidder
2.4.5 | DN 32mm x DN 25mm x DN 32mm | To be inserted by bidder
2.5 | Male Adaptor (mm x inch) BSP ,Threaded (M), Compression-Threaded Fittings, PN16, according to the following dimensions:
2.5.1 | DN 63mm x Ø 2” | To be inserted by bidder
2.5.2 | DN 50mm x Ø 1 ½” | To be inserted by bidder
2.5.3 | DN 32mm x Ø 1” | To be inserted by bidder
2.5.4 | DN 25mm x Ø ¾” | To be inserted by bidder
2.6 | Female Elbows (mm x inch) BSP ,Threaded (F), Compression-Threaded Fittings, PN16, according to the following dimensions:
2.6.1 | DN 63mm x Ø 2” | To be inserted by bidder
2.6.2 | DN 50mm x Ø 1 ½” | To be inserted by bidder
2.6.3 | DN 32mm x Ø 1” | To be inserted by bidder
2.6.4 | DN 25mm x Ø ¾” | To be inserted by bidder
2.7 | End cap (Plug), Compression Fittings, PN10 & PN16, according to the following dimensions:
2.7.1 | DN 110mm, PN10 | To be inserted by bidder
2.7.2 | DN 90mm, PN10 | To be inserted by bidder
2.7.3 | DN 63mm, PN16 | To be inserted by bidder
2.7.4 | DN 50mm, PN16 | To be inserted by bidder
2.7.5 | DN 32mm, PN16 | To be inserted by bidder
2.7.6 | DN 25mm, PN16 | To be inserted by bidder
3 | HDPE Fittings for butt fusion systems according to Technical Specifications
3.1 | Flange adaptors with Steel Backing Flange (long spigot), PE100,SDR11,PN16, according to the following dimensions:
3.1.1 | Flange adaptors - long spigot (Stub End)
3.1.1.1 | DN 315mm, SDR11, PN16 | To be inserted by bidder
3.1.1.2 | DN 250mm, SDR11, PN16 | To be inserted by bidder
3.1.1.3 | DN 200mm, SDR11, PN16 | To be inserted by bidder
3.1.1.4 | DN 160mm, SDR11, PN16 | To be inserted by bidder
3.1.1.5 | DN 110mm, SDR11, PN16 | To be inserted by bidder
3.1.1.6 | DN 90mm, SDR11, PN16 | To be inserted by bidder
3.1.2 | Steel Backing Flange, according to the following dimensions:
3.1.2.1 | DN 300mm, PN16 | To be inserted by bidder
3.1.2.2 | DN 250mm, PN16 | To be inserted by bidder
3.1.2.3 | DN 200mm, PN16 | To be inserted by bidder
3.1.2.4 | DN 150mm, PN16 | To be inserted by bidder
3.1.2.5 | DN 100mm, PN16 | To be inserted by bidder
3.1.2.6 | DN 80mm, PN16 | To be inserted by bidder
3.1.3 | Spigot Fittings (long spigot), PE100,SDR11, PN16, according to the following dimensions:
3.1.3.1 | Equal Tee (Long version)
3.1.3.2 | DN 315mm, SDR11, PN16 | To be inserted by bidder
3.1.3.3 | DN 250mm, SDR11, PN16 | To be inserted by bidder
3.1.3.4 | DN 200mm, SDR11, PN16 | To be inserted by bidder
3.1.3.5 | DN 160mm, SDR11, PN16 | To be inserted by bidder
3.1.3.6 | DN 110mm, SDR11, PN16 | To be inserted by bidder
3.1.3.7 | DN 90mm, SDR11, PN16 | To be inserted by bidder
3.1.4 | Reduced Tee (Long version)
3.1.4.1 | DN 315mm * 250mm * 315mm , SDR11, PN16 | To be inserted by bidder
3.1.4.2 | DN 315mm * 200mm * 315mm , SDR11, PN16 | To be inserted by bidder
3.1.4.3 | DN 315mm * 160mm * 315mm , SDR11, PN16 | To be inserted by bidder
3.1.4.4 | DN 250mm * 200mm * 250mm , SDR11, PN16 | To be inserted by bidder
3.1.4.5 | DN 250mm * 160mm * 250mm , SDR11, PN16 | To be inserted by bidder
3.1.4.6 | DN 250mm * 110mm * 250mm , SDR11, PN16 | To be inserted by bidder
3.1.4.7 | DN 250mm * 90mm * 250mm , SDR11, PN16 | To be inserted by bidder
3.1.4.8 | DN 200mm * 160mm * 200mm , SDR11, PN16 | To be inserted by bidder
3.1.4.9 | DN 200mm * 110mm * 200mm , SDR11, PN16 | To be inserted by bidder
3.1.4.10 | DN 200mm * 90mm * 200mm , SDR11, PN16 | To be inserted by bidder
3.1.4.11 | DN 160mm * 110mm * 160mm, SDR11, PN16 | To be inserted by bidder
3.1.4.12 | DN 160mm * 90mm * 160mm, SDR11, PN16 | To be inserted by bidder
3.1.4.13 | DN 110mm * 90mm * 110mm, SDR11, PN16 | To be inserted by bidder
3.1.5 | Reduced (Long version)
3.1.5.1 | DN 315mm * 250mm , SDR11, PN16 | To be inserted by bidder
3.1.5.2 | DN 315mm * 200mm , SDR11, PN16 | To be inserted by bidder
3.1.5.3 | DN 315mm * 160mm , SDR11, PN16 | To be inserted by bidder
3.1.5.4 | DN 250mm * 200mm , SDR11, PN16 | To be inserted by bidder
3.1.5.5 | DN 250mm * 160mm , SDR11, PN16 | To be inserted by bidder
3.1.5.6 | DN 200mm * 160mm , SDR11, PN16 | To be inserted by bidder
3.1.5.7 | DN 200mm * 110mm , SDR11, PN16 | To be inserted by bidder
3.1.5.8 | DN 160mm * 110mm, SDR11, PN16 | To be inserted by bidder
3.1.5.9 | DN 160mm * 90mm, SDR11, PN16 | To be inserted by bidder
3.1.5.10 | DN 110mm * 90mm, SDR11, PN16 | To be inserted by bidder
3.1.6 | Elbow 90°, PE100 / SDR11 / Long version
3.1.6.1 | DN 315mm, SDR11, PN16 | To be inserted by bidder
3.1.6.2 | DN 250mm, SDR11, PN16 | To be inserted by bidder
3.1.6.3 | DN 200mm, SDR11, PN16 | To be inserted by bidder
3.1.6.4 | DN 160mm, SDR11, PN16 | To be inserted by bidder
3.1.6.5 | DN 110mm, SDR11, PN16 | To be inserted by bidder
3.1.6.6 | DN 90mm, SDR11, PN16 | To be inserted by bidder
4 | Restraint Coupling & Flange Adaptor (used for HDPE) according to Technical Specifications
4.1 | Restraint Coupling, according to the following dimensions:
4.1.1.1 | DN 300mm, PN16 | To be inserted by bidder
4.1.1.2 | DN 250mm, PN16 | To be inserted by bidder
4.1.1.3 | DN 200mm, PN16 | To be inserted by bidder
4.1.1.4 | DN 150mm, PN16 | To be inserted by bidder
4.1.1.5 | DN 100mm, PN16 | To be inserted by bidder
4.1.1.6 | DN 80mm, PN16 | To be inserted by bidder
4.2 | Restraint Flange Adaptor, according to the following dimensions:
4.2.2.1 | DN 300mm, PN16 | To be inserted by bidder
4.2.2.2 | DN 250mm, PN16 | To be inserted by bidder
4.2.2.3 | DN 200mm, PN16 | To be inserted by bidder
4.2.2.4 | DN 150mm, PN16 | To be inserted by bidder
4.2.2.5 | DN 100mm, PN16 | To be inserted by bidder
4.2.2.6 | DN 80mm, PN16 | To be inserted by bidder